Article

Sensitive Detection of Industrial Pollutants Using Modified Electrochemical Platforms

Alessio Di Tinno1, +, Rocco Cancelliere1,+, Pietro Mantegazza1, Antonino Cataldo2,3, Alesia Paddubskaya4, Luigi Ferrigno5, Polina Kuzhir6, Sergey Maksimenko4, Mikhail Shuba4, Antonio Maffucci3,5, Stefano Bellucci2, and Laura Micheli1,*

Citation: Lastname, F.; Lastname, F.; Lastname, F. Title. Nanomaterials 2022, 12, x. https://doi.org/10.3390/xxxxx Academic Editor: Firstname Lastname Received: date Accepted: date Published: date Publisher’s Note: MDPI stays neutral with regard to jurisdictional claims in published maps and institutional affiliations. Copyright: © 2022 by the authors. Submitted for possible open access publication under the terms and conditions of the Creative Commons Attribution (CC BY) license (https://creativecommons.org/licenses/by/4.0/).

1	Dept. of Chemical Science and Technologies, University of Rome “Tor Vergata”, Rome, Italy; alessio.ditinno@gmail.com, roccocancelliere@gmail.com , mantegazza.pietro@gmail.com, laura.micheli@uniroma2.it

2	DISPREV Laboratory, Casaccia Research Center, ENEA, Rome, Italy; Antonino.Cataldo@lnf.infn.it

3	INFN-LNF, National Institute of Nuclear Physics, Frascati National Laboratories, Frascati (RM), Italy, stefano.bellucci@lnf.infn.it

4	INP, Institute for Nuclear Problems, Belarusian State University, Minsk, Belarus; paddubskaya@gmail.com; sergey.maksimenko@gmail.com; mikhail.shuba@gmail.com;

5	DIEI, Dept. of Electrical and Information Engineering, University of Cassino and Southern Lazio, Cassino, Italy; ferrigno@unicas.it; maffucci@unicas.it;

6	University of Eastern Finland, Joensuu, Finland, Italy; polina.kuzhir@gmail.com

+	These two authors contributed equally.

*	Correspondence: laura.micheli@uniroma2.it

Abstract: Herein, a facile, efficient and robust method for the determination of important industrial pollutants like hydroquinone and benzoquinone is reported. The recognition method is based on screen-printed electrodes modified with carbon-based nanomaterials. The enhancement is achieved by modifying the working electrodes of such screen-printed systems through highly sensitive membranes made of Carbon Nanotubes or Graphene Nanoplatelets. The sensors, prepared in this way, are firstly carefully morphologically and electrochemically characterized, whereupon they are tested in the detection of different pollutants (i.e. hydroquinone and benzoquinone) in water solution, by using both Cyclic and Square-Wave Voltammetry. In particular, the sensor based on film-deposited carbon nanotubes (SWNT and MWNT) showed good sensitivity with a limit of detection in the nanomolar level (0.04 and 0.07 μM for SWNT and MWNT-modified SPEs, respectively) and a linear working range of 10 to 1000 ppb under optimal conditions. The results highlight the improved performance of these novel modified screen-printed platforms and the large-scale applicability of this method for other analytes (i.e. toxins, pollutants, etc.).

Keywords: carbon-based nanomaterials, quinones, organic pollutants, screen-printed electrodes, voltammetry.

1. Introduction

Over the last half-century, the disproportionate industrialization has caused a huge increase in the release of potentially toxic compounds, thus contributing no small to the “great challenge” of our day: environmental pollution.

Industrial waste may be solid, semi-solid or liquid in form and may pollute the nearby soil or adjacent water bodies, contaminating groundwater, lakes, streams, rivers or coastal waters [1]. Nowadays most countries have enacted legislation to deal with the problem of industrial waste, but strictness and compliance regimes vary, not always being effective [2]. Moreover, recent research has shown that environmental pollutants are directly connected to the increase in human diseases, particularly those involved with the immune system [3,4]. In this regard, the contribution of benzene and its metabolites to this issue is well recognized, making them a public health problem [5,6]. Among the benzene metabolites, hydroquinone is undoubtedly one of the most important, due to its widespread application in human and industrial activities (i.e. as an inhibitor, antioxidant, and intermediate in the synthesis of dyes, motor fuels and oils, in photographic processing, in cosmetics and medical preparations) [7,8]. Hydroquinone, also called 1,4-Benzenediol or 1,4-Dihydroxybenzene, is an aromatic compound comprising a benzene core carrying two hydroxyl substituents at a para position to each other. It occurs in the environment as a result of anthropogenic processes [9] (i.e. industrial productions, etc.), as well as in natural products from plants and animals [10] (i.e. as arbutin, a glucose conjugate or in wheat, pears, coffee, onion, tea and red wine) [11,12]. Long exposure to hydroquinone can cause different types of health problems, from irritation (skin, eyes, nose and throat), to mutagenic effects (in animals) and even acute poisoning, which can cause dizziness, headache, and loss of consciousness, difficulty breathing and a fast or weak pulse [9,13–15]. In 1994, precisely because of its danger, hydroquinone was classified as a harmful chemical on the Approved Supply List and is labelled with risk phrases R20 and R22: harmful by inhalation and if swallowed. Since that time a lot of research has been carried out and several methods for the determination of hydroquinone have been developed [16]. In particular, numerous scientific publications based on chromatographic and spectrophotometric analysis (i.e. liquid chromatography-UV detection, HPLC–MS, etc…) are reported in the literature [17–20]. Although these methods to measure hydroquinone levels have been demonstrated to be effective, they still require a minimum of in-presence sample processing and high employment of reagents and time [21,22].

In this context, electrochemical sensors based on Screen-Printed Electrodes (SPEs) represent a valid alternative to the traditional staple techniques due to their instrumental simplicity, cost-effectiveness and portability [23]. However, it is well-known that the conventional screen-printed electrodes (i.e. graphite, carbon, etc.) have serious issues due to their sluggish surface kinetics which severely affects the sensitivity (i.e. broad peak, high potential needed, no peak at a lower concentration) and selectivity of the platforms [24]. Nowadays, Carbon Nano-Materials (CNMs) represent the most valid solution to overcome this problem, owing to the wide range of applications and their physical and chemical properties [21,25–27].

Among the several advantages provided by the modification of SPEs with CNMs, the improved surface kinetics, the enhanced electroactive surface area, and the amended adsorption and functionalization capability are the most important [21,24].

In this work, set up-up a model sensor based on CNMs for the rapid, sensitive and highly reproducible environmental monitoring of hydroquinone (HQ) and benzoquinone (BQ). In particular, we report on the post-printing modification of the working electrode (WE) of our serigraphic platform using three of the most promising types of graphene-based materials, specifically single and multi-wall carbon nanotube (SWNTs, MWNTs) and graphene nano-platelets (GNPs). At first, we investigated electrochemically the electro-catalytic effectiveness (attributable to the π-conjugated honeycomb structure) of carbon nanotubes (CNTs) and GNPs, once used in the modification of SPEs. In particular, CNTs films were used to create and thus modify the working electrodes (WE) of SPEs, whereas the GNP-modified electrodes were prepared using classical SPE drop-casted with a dispersion of GNP. After that, the analytical performances of CNMs-based sensors for the detection of HQ and benzoquinone (BQ) in buffer and real sample matrix (water) were tested. The results indicate that the presence of CNMs, in particular SWNTs, leads to a significant increase in the intensity of the recorded Faradic current (resulting from the growth surface area of the platform) in comparison to bare SPEs. The repeatability values (RSD%) fluctuate from 11% of the bare-SPE to 6% of the SWNT-SPEs. Also in this case, therefore, the modified platforms are configured as a suitable tool for the quantification of organic analytes present in low concentration in an aqueous solution (below 0.5 mM of hydroquinone).

2. Materials and Methods

2.1. Materials

All chemicals from commercial sources were of analytical grade. Ethanol, potassium ferri/ferrocyanide, p-benzoquinone and hydroquinone were purchased from Sigma-Aldrich (Steinheim, Germany). MWNTs and SWNTs were purchased from Heji Inc. (Hong Kong) and Nanointegris Technology Inc. (Canada), respectively. GNPs were in-house produced by microcleavage exfoliation of the expanded graphite (provided by Asbury®, Wilmore, KY, USA) and reported in detail in [25-26]. The buffer solution used is a 0.05 M phosphate buffer saline (PBS), 0.1 M KCl, pH = 7.4.

2.2. Fabrication of GNPs and CNTs and integration into SPEs

The microwave exfoliation technique, a low-cost and industrially scalable procedure [25-26], was used to prepare the GNPs employed in the modification of our platforms. In particular, the procedure started from commercial expandable graphite (EG), intercalated with sulfates and nitrates (inserted between the adjacent layers of sp2 hybridized carbon). The graphite was then heated in a microwave oven (800W-power, 10 seconds). The thermal shock vaporized the molecules present inside the EG, expanding to form worm-like graphene. These structures were then placed in isopropyl alcohol and sonicated for about 10 minutes, obtaining a solution with the final GNPs of typical lateral sizes in the range of 2-10 μm, as in the example given in Fig.1a, where a Scanning Electron Microscope (SEM) image of a GNP is provided.

|  | D D’ G 2D Raman shift (cm-1) D D’ G 2D Raman shift (cm-1) D D’ G 2D Raman shift (cm-1) D D’ G 2D Raman shift (cm-1) |
| --- | --- |
| (a) |  |
| (a) | (b) |

Figure 1. Structural characterization of the Graphene Nano-Platelets: (a) a SEM micrograph of a GNP flakes; (b) Raman spectroscopy results.

Structural characterization was carried out by means of Raman Spectroscopy, see Fig.1b. Specifically, the analysis of the 2D bands led to the determination of the number of layers of these GNPs, NG, through the following relation [28]:

| NG=100.84M+0.45M2 , M= IG'ene(w=wp,G'ite)/IG'ene(w=ws,G'ite)IG'ite(w=wp,G'ite)/IG'ite(w=ws,G'ite), | (1) |
| --- | --- |

where IG'ene and IG'ite are the Raman intensities of graphene and graphite, respectively. The estimated number of layers was N_G=5±1.5. From the analysis of the peaks D and D’ a good quality and low-density defects on GNP was observed, being the ID/ID’ ratio equal to 3.9±0.1. Finally, the value of ID/IG of about 0.05 revealed a mean distance between defects over 35nm, thus indicating a low density of defects. Finally, an Infra-red (IR) analysis confirmed that the proposed fabrication procedure did not introduce significant oxidation, thus preserving the conductive properties.

The CNT films were fabricated from commercial MWNTs and SWNTs via a vacuum filtration technique. Briefly, 0.1 mg of the CNT material was suspended in 10 mL of an aqueous solution containing 1 wt% of sodium dodecyl sulfate (SDS) by ultrasonication treatment (44 kHz) for 1 h. Then, the suspension was centrifuged at 8000g for 20 min. After centrifugation, the supernatant was filtered with a cellulose-ester membrane (Millipore, 0.22 µm pore size) by using a vacuum cell. During the filtration process, the CNTs accumulated onto the membrane filter surface forming a homogeneous film. The surfactant was partly washed away with 200 mL of distilled water at a temperature of 60 °C. The hot water helped to remove surfactant from the tube surface. Then the filter was dissolved in acetone, which is used also to wash the CNT films. The acetone was substituted by ethanol, and CNT film was transferred to the working electrodes (WE) of SPEs. The GNP-modified SPEs were prepared as follows. Initially, screen-printed electrodes were pretreated amperometrically (1.7 V, 180 s) using a 0.05M phosphate buffer + 0.1MKCl, pH 7. After that, the electrodes were rinsed with distilled water (to remove salt residues) before modifying those using GNPs (a suspension of 1 mg/mL of powder in a 1:2 ethanol-water). An ultrasonic transducer (200 W, 26 kHz and 30 min) was used to homogenize the suspension. The working electrodes (WE) were modified by drop-casting with 6 μL of CNMs dispersions. Once dried at room temperature, the GNPs-SPEs were ready to use. A schematic representation of CNTs film and GNP-based sensors are reported in Figure 2.

Figure 2. Schematic representation of Nano-engineered-SPE. a) Classical drop-casting of WE surface using a dispersion of GNP, b) innovative deposition of CNTs-based films.

From a structural characterization, film thickness for both SWNTs and MWNTs was estimated as 200 and 1000 nm, respectively. A SEM characterization of the obtained films showed no visible surfactant on the surface of the MWCNTs, see Fig. 3a. Visually, the density of SWCNT film is higher than that of MWNT film. This could explain why the MWNT film was better washed from the surfactant than the SWNT film. In addition, the Raman spectra of MWNTs and SWNTs have been studied (see Fig. 3b). The ratio of the intensity of the D-mode to that of the G-mode for the MWNTs is high (0.87) indicating the defective nature of their crystalline structure. This ratio is low (0.08) for SWNTs indicating the low quantity of sidewall defects in them.

| (a) | (b) |
| --- | --- |

Figure 3. Structural characterization of the CNTs: (a) SEM micrographs of the SWNT and MWNT films; (b) Raman spectroscopy results.

2.3. Apparatus

The electrochemical measurements were carried out using in-house produced SPEs, as detailed in our previous works [21,24,29]. Cyclic voltammetry (CV) and square wave voltammetry (SWV) analysis were performed using a Palmesens4™ portable potentiostat system (Palmesens, Houten, The Netherlands) together with proprietary software PSTrace (Palmesens, Houten, The Netherlands). Dispersions were realized using Hielscher UP200St-Ultrasonic Transducer. Morphological analyses were performed using a VEGA II scanning electron microscope (Tescan, Czech Republic). Raman spectra were performed using an Invia Raman microscope (Renishaw, UK) endowed with a 532 and 633 nm laser, a 100 objective, and an 1800 L/mm grating

2.4. Analytical Parameters Calculation

The limit of detection and quantification (LOD, LOQ), the heterogeneous rate constants (k0) and the percentage increase (I%) in faradaic current were estimated as reported in our previous works [21,24,29,30]. Moreover, the Randles–Sevcik equation (Eq. 2, exploited for the determination of the diffusion coefficients (D0) and the surface-active area (A), is set forth below [31]:

| Ip=0.4463nFACnFvD0RT | (2) |
| --- | --- |

where D0 is the diffusion coefficient (cm2/s) for the ferri/ferrocyanide couple, ν is the scan rate (vs-1), n is the number of electrons involved in the process, F is the Faraday constant (1/mol), T is the temperature (K), R is the universal gas constant (J/K mol), and A is the active electrodic surface.

3. Results and discussion

This section may be divided by subheadings. It should provide a concise and precise description of the experimental results, their interpretation, as well as the experimental conclusions that can be drawn.

3.1. Electrochemical performances of CNMs-modified platforms

To demonstrate the effect of carbon-nanomaterials on the performance of our homemade serigraphic platforms, an in-depth electrochemical characterization of unmodified (bare-SPE) and modified-SPEs (MWNT, SWNT, GNP-SPEs) was carried out (Fig.4). Initially, the background current output was quantified using amperometry (1.7 V, 150 s) by analyzing eight different electrodes (n=8) for each type of platform in a 100 mM KCl solution. The following current results were obtained: 29.4 ± 0.5, 40 ± 1, 35 ± 9 nA and 132 ± 14nA for SWNT, MWNT, GNP and classical SPEs, respectively. By using the standard deviation [21] as the index of signal/noise ratio it is possible to ascertain that the modification with CNMs produces a more dependable electrochemical device with an important minimization of capacitive current. After that, six different platforms (n=6) for each modified-SPEs were analyzed voltammetrically (CV) using the reversible couple (10mM) [Fe(CN)6]3-/4- as an electroactive reporter. By analyzing the voltammograms reported in Figure 4a, it can be readily observed that the modification of the WE with CNMs produces a dramatic improvement in the magnitude of the voltammetric peak height (faradaic current), as proven by the % increase of anodic and cathodic peak current (Ipa and Ipc). In particular, a 19, 16 and 17-fold increase of the anodic peak current was observed for SWNT, MWNT, and GNP-based SPE, respectively (Fig.4a). In addition, once drop-casted, the nano-functionalized platforms allow overcoming a serious issue which severely affects the sensitivity and selectivity associated with conventional electrodes: the sluggish surface kinetics. As reported in Table 1, an incredible improvement of the surface kinetics of the bare electrodes was achieved by modifying them with CNMs, as demonstrated by the heterogeneous electron transfer rate constant (k0) here calculated. Moreover, the nano-modified platforms allow the electroactive couples (Fe2+/Fe3+) to function as an ideal reversible system, as evidenced by the anodic and cathodic peak ratio (Ipa/Ipc=1) and the peak-to-peak separation (ΔE). Whereas, a quasi-reversible systems-like behavior was observed for bare SPEs. Anyway, the enhanced surface kinetic is not the only advantage that the use of nanomaterials brings in electrode modification. A major electroactive surface area (A) is usually observed after the drop-casting of the working electrode (WE). In particular, a 2, 3 and 4-fold increase of A was observed when unmodified-SPEs were cast using SWNT, MWNT and GNP, respectively. The improvement of all these electroanalytical parameters formally entails a decrease in the background current and therefore an increase in the sensitivity-correlated faradic current signal. Indeed, CNMs-modified SPEs result 5-fold more sensitive than the bare platform when tested voltammetrically (SWV) using different concentrations (from 0 to 10mM) of [Fe(CN)6]3-/4-. Furthermore, the diffusivity process occurring at the electrode interface was studied. To do this, the effect of the scan rate on the redox peak currents was evaluated (Figure 3b). Voltammograms reported in Figure 4b, reveal that the faster the scan rates, the smaller the size of the diffusion layer and hence, accordingly, an increased peak current values were observed. In particular, using the Randles-Sevcik equation (Equation 2), in which the peak current is directly proportional to the square root of the scan rate (γ), a plot reporting Ipa and Ipc as a function of the γ 0.5 has been obtained (Figure 4c). The deriving slopes (μA/(mV/s)0.5) of the linear correlation of Ipa and Ipc were calculated: 174.5 (R2 = 0.999) and -174.7 (R2 = 0.999), 138,8 (R2 = 0.998) and -138.2 (R2 = 0.999), 137.7 (R2 = 0.997) and -138.2 (R2 = 0.995), 121.7 (R2 = 0.997) and -120.4 (R2 = 0.997), corresponding respectively to SWNT, MWNT, GNP and bare SPE-based sensor. Moreover, by further manipulating [21] Eq. 2 the diffusion coefficient (D0), as the average of the anodic and cathodic diffusion coefficient (DOx and DRed), was calculated. Precisely, ferro-ferricyanide was used as an electroactive couple using CV as voltammetric tools with a scan rate of 30 mV/s. By comparing the results reported in Table 1 with those of Konopka and McDuffie reported in our previous work [29,32], a very similar diffusional process was assessed. Thus, demonstrating a planar diffusion-controlled process in the oxidation/reduction reactions of the [Fe(CN)6]-4/-3.

Figure 4. Electrochemical characterization of electrode interface after CNMs modification. a) Comparison of the cyclic voltammograms, b) scan rate study (for MWNT-based SPE) and c) linear regression of SWNT, MWNT, GNP and bare SPE obtained using 10 mM [Fe(CN)6]4- /3- in 0.05 M PBS. Curves of one representative CNMs-modified SPE sensor of at least 6 analysed platforms are presented.

To ascertain the effective sensitivity of the CNMs-modified platforms, a preliminary study analyzing different concentrations of [Fe(CN)6]4- /3- by using SWV as an analytical technique was carried out. The limit of detection (LOD), the sensitivity and the reproducibility, calculated by analysing the response of a 10 mM electroactive probe using six electrodes fabricated by the uniform procedure, are reported below (Table 1). According to this preliminary electrochemical characterization, SWNT-based platforms resulted in 3, 6 and 22-fold more sensitive than MWNT, GNP and bare SPE-based sensors, respectively. Nevertheless, all the nano-modified platforms share a good reproducibility (RSD ̴ 5%) and surface kinetics, as demonstrated from the k0 of the same order of magnitude.

Table 1. Cathodic and anodic peak current intensity and their ratio, electron transfer rate constant (k0), peak-to-peak separation (ΔV), LOD, sensitivity, reproducibility (RSD%), active surface area (A), diffusion coefficient (D0) and percentage increase estimated for bare and CNMs-modified SPEs have been reported. All analytical parameters are obtained from cyclic voltammogram traces.

| [Fe(CN)6] 4-/3- (10 mM) | Bare Electrode | SWNT | MWNT |  | GNP |  |
| --- | --- | --- | --- | --- | --- | --- |
| ¦Iap¦ [µA] | 17 ± 2 | 325 ± 5 | 274 ± 4 |  | 186 ± 17 |  |
| ¦Icp¦ [µA] | 22 ± 1 | 321 ± 4 | 269 ± 5 |  | 181 ± 15 |  |
| ¦Ipa¦ / ¦Ipc¦ | 0.80 | 1.01 | 1.02 |  | 1.02 |  |
| k0 [cm/s] | 1.9∙10-5 | 5.6∙10-3 | 2.1∙10-3 |  | 1.4∙10-3 |  |
| A [cm2] | 0.13 | 0.58 | 0.43 |  | 0.33 |  |
| ΔE [mV] | 197 | 85 | 110 |  | 124 |  |
| D0 [cm2/s] | 1.7∙10-7 | 4.6∙10-6 | 3.3∙10-6 |  | 3.5∙10-6 |  |
| LOD [μM] | 34.8 | 1.5 | 5.4 |  | 9.4 |  |
| Sensitivity [mA/M cm2] | 12 | 8.3 | 4.5 |  | 6.5 |  |
| Reproducibility | 10 | 5 | 3 |  | 5 |  |
| % Increase ¦Ipa¦ | / | 258 | 294 |  | 276 |  |
| % Increase ¦Ipc¦ | / | 480 | 580 |  | 312 |  |
| ¦Iap¦ [µA] | 17 ± 2 | 325 ± 5 |  | 274 ± 4 |  | 186 ± 17 |

3.2. Analytical performances of CNMs-based sensor for Hydroquinone determination

3.2.1 Hydroquinone determination in buffer solution

To ascertain the sensitivity of our nanomodified platforms in the determination of HQ, two different analytical techniques, CV and SWV respectively, were used. In Fig.5 the relative results obtained by analyzing (by CV) several HQ concentrations (from 0 to 10mM) by means of SWNT, MWNT, GNP and bare SPEs were reported. From a visual inspection of Figure 4a, it is possible to confirm that SWNT-based platforms result in the most performing and reproducible (RSD%<5%). In particular, the linear regression (y =mx+q) showed in Figure 5e were obtained by reporting the concentrations of HQ as a function of the relative recorded currents in terms of the “current vs concentrations” slope (m) (650.9, R2 = 0.997, 566.4, R2 = 0.995, 544.6, R2 = 0.995 and 268.2, R2 = 0.994), for SWNT, MWNT, GNP and bare SPE). Furthermore, by using the standard deviation (obtained from the current recorded analyzing ten different blank samples) and the slope above reported for each platform, the following limits of detection (LOD) were calculated: 8.5, 11.6, 15.8 and 90.3 μM for SWNT, MWNT, GNP and bare SPE, respectively. Considering these results as good but improvable, we repeated these experiments (6 electrodes for each concentration) using a more performing electrochemical technique as the SWV (see Figure 6). As for the CV results, also in this case the SWNT-modified SPEs result in the most performing platform (Figure 6a) in terms of sensitivity. Moreover, by calculating the LOD for all the proposed sensing devices, the following results were obtained: 0.04, 0.07, 0.3 and 12.3 μM for SWNT, MWNT, GNP and bare SPE-based devices. In addition, benzoquinone (BQ), as a second important pollutant, was studied, using both CV and SWV, and the relative results are reported in Table 2. For BQ, as for HQ, excellent results in terms of LOD and reproducibility were obtained, thus demonstrating the applicability of these nano-engineered platforms as rapid, sensitive and accurate lab-on-chip devices for pollutants determinations.

Figure 5. Dose-response voltammograms. Comparison of the CVs obtained analyzing with all our platforms (SWNT, MWNT, GNP and bare SPE) a) the same concentration of HQ (5mM) and b-d) several HQ concentrations (from 0.1μM to 1mM), e) relative linear regressions. Curves of one representative CNMs-modified SPE sensor of at least 6 analyzed platforms are presented.

Figure 6. Dose-response voltammograms. Comparison of the SWVs for different platforms (SWNT, MWNT, GNP and bare SPE) a) at the same concentration of HQ (10mM) and (b-d) at several HQ concentrations (from 0.1 to1mM). Curves of one representative CNMs-modified SPE sensor of at least 6 analyzed platforms are presented.

Table 2. Summary of the Limit Of Detection (LOD) and reproducibility obtained using CV and SWV in the analyses of several concentrations of HQ and BQ in PBS solution. All analytical parameters are obtained from CV and SWV traces.

|  |  | Bare Electrode | SWNT | MWNT | GNP |
| --- | --- | --- | --- | --- | --- |
| HydroQuinone (HQ) |  |  |  |  |  |
| CV | LOD (μM) | 90.3 | 8.5 | 11.6 | 15.8 |
|  | Reproducibility (RSD%) | 15 | 4 | 6 | 7 |
| SWV | LOD (μM) | 12.3 | 0.04 | 0.07 | 0.3 |
|  | Reproducibility (RSD%) | 17 | 5 | 8 | 8 |
| BenzoQuinone (BQ) |  |  |  |  |  |
| CV | LOD (μM) | 95.7 | 9.3 | 12.3 | 17.5 |
|  | Reproducibility (RSD%) | 15 | 5 | 5 | 8 |
| SWV | LOD (μM) | 17.3 | 0.05 | 0.08 | 1.4 |
|  | Reproducibility (RSD%) | 18 | 6 | 7 | 9 |

3.2.2	Hydroquinone and benzoquinone determination in water

To ascertain the applicability of the developed CNMs-based platforms in a real matrix, a careful voltammetric (CV and SWV) study at different concentrations (from 0.1 μM to 10 mM) of HQ and BQ in water samples was carried out. The results (see Table 3) are very encouraging for both the pollutants employed, proving the efficacy of this method as a rapid environmental control system. In particular, the linear regression (m) obtained analyzing HQ-spiked water sample with CV and SWV, respectively, for all the sensors at our disposal are: 31.6 (R2 = 0.994) and 42.8 (R2 = 0.998), 27.9 (R2 = 0.994) and 31.3 (R2 = 0.997), 19.2 (R2 = 0.994) and 26.7 (R2 = 0.997), 13.4 (R2 = 0.992) and 19.8 (R2 = 0.993), for SWNT, MWNT, GNP and bare SPE-based sensors. Whereas, the slope obtained for the BQ-spiked water sample are: 17.3 (R2 = 0.996) and 170.4 (R2 = 0.998), 10.1 (R2 = 0.995) and 120.2 (R2 = 0.994), 10.2 (R2 = 0.994) and 64.5 (R2 = 0.993), 5.4 (R2 = 0.998) and 10.2 (R2 = 0.999), for SWNT, MWNT, GNP, and bare SPE-based sensors. As noted in the preliminary characterization (section 3.1), the SWNT-based platforms result as the most performing devices in terms of analytical robustness.  However, the modification of the electrodic surface with all our carbonaceous nanomaterials leads to a validation of the RSD% values below the 15% threshold value (the accepted standard for serigraphic platforms).

Table 3. Summary of the Limit Of Detection and reproducibility obtained using CV and SWV in the analyses of several HQ and BQ-spiked water solutions. All analytical parameters are obtained from CV and SWV traces.

|  |  | Bare Electrode | SWNT | MWNT | GNP |
| --- | --- | --- | --- | --- | --- |
| HydroQuinone (HQ) |  |  |  |  |  |
| CV | LOD (μM) | 334.5 | 80.3 | 13.7 | 166.6 |
|  | Reproducibility (RSD%) | 17 | 8 | 9 | 9 |
| SWV | LOD (μM) | 132.3 | 2.2 | 1.7 | 5.3 |
|  | Reproducibility (RSD%) | 17 | 10 | 10 | 10 |
| BenzoQuinone (BQ) |  |  |  |  |  |
| CV | LOD (μM) | 275.5 | 1.4 | 102.5 | 108.5 |
|  | Reproducibility (RSD%) | 14 | 10 | 10 | 10 |
| SWV | LOD (μM) | 121.2 | 1.7 | 2.9 | 4.3 |
|  | Reproducibility (RSD%) | 18 | 11 | 12 | 11 |

3.2.3	CNMs-based sensors stability and recovery in HQ determination

The stability of the CNMs-based biosensors was examined by repeating the measurements (SWV) of 300µM HQ periodically over five weeks. The investigation was realized for all the different platforms stored in a humid chamber at 4 °C without using any preservatives. The results in terms of registered faradic current showed an almost constant response for up to one month. Precisely, an averaged intra-day (6 SPE for each platform) and inter-day (from day 1 to 35) repeatability of 8% and 15% were calculated for all our platforms. Moreover, a recovery study using SWNT, the most powerful platform, and bare SPE-based sensors was carried out by analyzing a series of known HQ concentrations spiked in water (1, 10, 50, 100 µM). The results reported in Table 4, were obtained following the procedure adopted in our previous work.

The percent recovery values for the spiked samples were 85.0 to 92.8% and 5.0 to 79.2% for SWNT-SPEs and bare SPEs, respectively. Therefore, a negligible matrix effect and a good efficiency of the developed SWNT-SPEs were verified in the analysis of HQ in water samples. At the same time, it can be extrapolated from this data how better CNMs-SPEs are if compared to bare ones.

Table 4. Recovery study conducted on spiked-HQ water solutions.

|  | Spiked HQ concentration CS (μM) | Recovered HQ concentration (CT –C0) (μM) | Recovery % (n=6) | RSD% (n=6) |
| --- | --- | --- | --- | --- |
| SWNT | 100 | 85 | 85.0 | 10 |
|  | 200 | 177 | 88.5 | 9 |
|  | 400 | 374 | 93.5 | 7 |
|  | 800 | 743 | 92.8 | 6 |
| MWNT | 100 | 35 | 5.0 | 20 |
|  | 200 | 129 | 64.5 | 17 |
|  | 400 | 310 | 77.5 | 14 |
|  | 800 | 633 | 79.1 | 12 |

5. Conclusions

In this work, a simple, easy-to-use, cost-effective and disposable electrochemical tool for the quantification of pollutants, such as hydroquinone and p-benzoquinone, has been described. This method, based on SPEs modified with different CNMs, has been deeply studied and characterized. Initially, the proposed electrochemical platforms were compared in terms of the electrochemical performances using cyclic and square wave voltammetry as analytical tools for their characterization. These preliminary studies demonstrated that the carbon nanomaterials used to modify the SPEs produce several improvements in the sensitivity, repeatability and signal to noise ratio of the serigraphic platforms in comparison to the bare-SPE. Moreover, CNMs-based SPEs were used to quantify HD and BQ both in buffer solutions and in water (using spiked samples) using CV and SWV as detection techniques. Precisely, SWNT-SPEs showed the best analytical performances in terms of LOD (0.04 and 0.05µM) and reproducibility (RSD% 5 and 8) with regards to HQ and BQ detection in buffer solutions. In addition, CNMs modified SPEs were also used to analyze HQ and BQ in water (real matrix). As for the buffer solution, also in this case SWNT-SPEs gave the best results, with a LOD (SWV) of 2.2 µM for HQ and 1.7 for BQ; reproducibility was also good, with an RSD% of 10% for HQ and 11% for BQ. These results demonstrated the applicability of these nano-engineered platforms as rapid, sensitive, and accurate lab-on-chip devices for pollutants determinations. Indeed, an incredible improvement was obtained by comparing the analytical performances of our platforms to bare SPEs (LOD of 132.3 µM for HQ and 121.2µM for BQ). Lastly, a recovery study using SWNT-SPEs in comparison of bare electrodes was conducted. The high percent recovery values (95 to 92.8 %) obtained for the spiked samples proved once again the powerfulness of these platforms with a negligible matrix effect.

Corresponding Author: Laura Micheli, Dept. of Chemical Science and Technologies, University of Rome “Tor Vergata”, Via della Ricerca Scientifica, 000133, Rome, Italy, e-mail: laura.micheli@uniroma2.it

Author Contributions: Conceptualization, L.F., A.M., S.B. and L.M.; Methodology, A.D.T., R.C., A.C., P.K., S.M., M.S., L.M., Material preparation, A.D.T., R.C., P.M., A.C., A.P., M.S.; Data Curation, A.D.T., R.C., P.M., L.M.; Writing – Original Draft Preparation A.D.T., R.C., A.C, M.S.; Writing – Review & Editing, L.F., A.M., S.M., S.B., L.M. X.X.; Supervision, P.K., S.M., A.M, L.M.; Funding Acquisition, P.K., S.M., A.M.”

Funding: This work was partially supported by the Project “2D material-based low cost SENSor of aggressive substancEs (2DSENSE)”, funded by NATO under the SPS Programme, grant # G5777 (2020-2024).

Data Availability Statement: Not applicable.

Conflicts of Interest: The authors declare no conflict of interest.

References

1.	D. Vallero, Controlling Air Pollution from Sources, in: Fundam. Air Pollut., Elsevier, 2014: pp. 881–925. https://doi.org/10.1016/B978-0-12-401733-7.00031-1.

2.	H. Jaeger, N. Meneses, D. Knorr, Food Technologies: Pulsed Electric Field Technology, in: Encycl. Food Saf., Elsevier, 2014: pp. 239–244. https://doi.org/10.1016/B978-0-12-378612-8.00260-2.

3.	L. Hou, X. Zhang, D. Wang, A. Baccarelli, Environmental chemical exposures and human epigenetics, Int. J. Epidemiol. 41 (2012) 79–105. https://doi.org/10.1093/ije/dyr154.

4.	F.J. Enguita, A.L. Leitão, Hydroquinone: Environmental Pollution, Toxicity, and Microbial Answers, BioMed Res. Int. 2013 (2013) 1–14. https://doi.org/10.1155/2013/542168.

5.	E.S. Johnson, S. Langård, Y.-S. Lin, A critique of benzene exposure in the general population, Sci. Total Environ. 374 (2007) 183–198. https://doi.org/10.1016/j.scitotenv.2006.11.045.

6.	H. Bahadar, S. Mostafalou, M. Abdollahi, Current understandings and perspectives on non-cancer health effects of benzene: A global concern, Toxicol. Appl. Pharmacol. 276 (2014) 83–94. https://doi.org/10.1016/j.taap.2014.02.012.

7.	X. Yang, Y. Lu, F. He, F. Hou, C. Xing, P. Xu, Q.-F. Wang, Benzene metabolite hydroquinone promotes DNA homologous recombination repair via the NF-κB pathway, Carcinogenesis. 40 (2019) 1021–1030. https://doi.org/10.1093/carcin/bgy157.

8.	S.M. Rappaport, S. Kim, Q. Lan, R. Vermeulen, S. Waidyanatha, L. Zhang, G. Li, S. Yin, R.B. Hayes, N. Rothman, M.T. Smith, Evidence That Humans Metabolize Benzene via Two Pathways, Environ. Health Perspect. 117 (2009) 946–952. https://doi.org/10.1289/ehp.0800510.

9.	C. Peng, D. Arthur, F. Liu, J. Lee, Q. Xia, M.F. Lavin, J.C. Ng, Genotoxicity of hydroquinone in A549 cells, Cell Biol. Toxicol. 29 (2013) 213–227. https://doi.org/10.1007/s10565-013-9247-0.

10.	L. Roza, N. de Vogel, J.H.M. van Delft, Lack of clastogenic effects in cultured human lymphocytes treated with hydroquinone, Food Chem. Toxicol. 41 (2003) 1299–1305. https://doi.org/10.1016/S0278-6915(03)00118-2.

11.	C.W. Flickinger, The benzenediols: catechol, resorcinol and hydroquinone — a review of the industrial toxicology and current industrial exposure limits, Am. Ind. Hyg. Assoc. J. 37 (1976) 596–606. https://doi.org/10.1080/0002889768507526.

12.	S. Suresh, V.C. Srivastava, I.M. Mishra, Adsorption of catechol, resorcinol, hydroquinone, and their derivatives: a review, Int. J. Energy Environ. Eng. 3 (2012) 32. https://doi.org/10.1186/2251-6832-3-32.

13.	S.-P. Choukem, D.T. Efie, S. Djiogue, F.F. Kaze, Y. Mboue-Djieka, T. Boudjeko, E. Dongo, J.-F. Gautier, A.-P. Kengne, Effects of hydroquinone-containing creams on capillary glycemia before and after serial hand washings in Africans, PLOS ONE. 13 (2018) e0202271. https://doi.org/10.1371/journal.pone.0202271.

14.	F.J. Enguita, A.L. Leitão, Hydroquinone: Environmental Pollution, Toxicity, and Microbial Answers, BioMed Res. Int. 2013 (2013) 1–14. https://doi.org/10.1155/2013/542168.

15.	J. Nordlund, P. Grimes, J. Ortonne, The safety of hydroquinone: The safety of hydroquinone, J. Eur. Acad. Dermatol. Venereol. 20 (2006) 781–787. https://doi.org/10.1111/j.1468-3083.2006.01670.x.

16.	P.A. Carson, C.J. Mumford, Hazardous chemicals handbook, 2nd ed, Butterworth-Heinemann, Oxford ; Boston, 2002.

17.	Z. Moldovan, D.E. Popa, I.G. David, M. Buleandra, I.A. Badea, A Derivative Spectrometric Method for Hydroquinone Determination in the Presence of Kojic Acid, Glycolic Acid, and Ascorbic Acid, J. Spectrosc. 2017 (2017) 1–9. https://doi.org/10.1155/2017/6929520.

18.	Y. Yuan, C. Li, J. Zhu, S. Liu, Z. Liu, J. Yang, M. Qiao, Y. Shi, R. Duan, X. Hu, Determination of hydroquinone based on the formation of Turnbull’s blue nanoparticles using resonance Rayleigh scattering, Anal. Methods. 7 (2015) 9347–9353. https://doi.org/10.1039/C5AY01174D.

19.	P. Gimeno, A.-F. Maggio, M. Bancilhon, N. Lassu, H. Gornes, C. Brenier, L. Lempereur, HPLC–UV Method for the Identification and Screening of Hydroquinone, Ethers of Hydroquinone and Corticosteroids Possibly Used as Skin-Whitening Agents in Illicit Cosmetic Products, J. Chromatogr. Sci. (2015) bmv147. https://doi.org/10.1093/chromsci/bmv147.

20.	S. Uddin, A. Rauf, T.G. Kazi, H.I. Afridi, G. Lutfullah, Highly sensitive spectrometric method for determination of hydroquinone in skin lightening creams: application in cosmetics: Highly sensitive spectrometric method for determination of hydroquinone in skin, Int. J. Cosmet. Sci. 33 (2011) 132–137. https://doi.org/10.1111/j.1468-2494.2010.00599.x.

21.	R. Cancelliere, A. Di Tinno, A.M. Di Lellis, Y. Tedeschi, S. Bellucci, K. Carbone, E. Signori, G. Contini, L. Micheli, An inverse-designed electrochemical platform for analytical applications, Electrochem. Commun. 121 (2020) 106862. https://doi.org/10.1016/j.elecom.2020.106862.

22.	A. Di Tinno, R. Cancelliere, L. Micheli, Determination of Folic Acid Using Biosensors—A Short Review of Recent Progress, Sensors. 21 (2021) 3360. https://doi.org/10.3390/s21103360.

23.	O.D. Renedo, M.A. Alonso-Lomillo, M.J.A. Martínez, Recent developments in the field of screen-printed electrodes and their related applications, Talanta. 73 (2007) 202–219. https://doi.org/10.1016/j.talanta.2007.03.050.

24.	R. Cancelliere, A.D. Tinno, A. Cataldo, S. Bellucci, L. Micheli, Powerful Electron-Transfer Screen-Printed Platforms as Biosensing Tools: The Case of Uric Acid Biosensor, Biosensors. 12 (2021) 2. https://doi.org/10.3390/bios12010002.

25.	A. Dabrowska, S. Bellucci, A. Cataldo, F. Micciulla, A. Huczko, Nanocomposites of epoxy resin with graphene nanoplates and exfoliated graphite: Synthesis and electrical properties: Nanocomposites of epoxy resin with GNP and exfoliated graphite, Phys. Status Solidi B. 251 (2014) 2599–2602. https://doi.org/10.1002/pssb.201451175.

26.	A. Maffucci, F. Micciulla, A. Cataldo, G. Miano, S. Bellucci, Bottom-up realization and electrical characterization of a graphene-based device, Nanotechnology. 27 (2016) 095204. https://doi.org/10.1088/0957-4484/27/9/095204.

27.	F.J.V. Gomez, A. Martín, M.F. Silva, A. Escarpa, Screen-printed electrodes modified with carbon nanotubes or graphene for simultaneous determination of melatonin and serotonin, Microchim. Acta. 182 (2015) 1925–1931. https://doi.org/10.1007/s00604-015-1520-x.

28.	K. R. Paton et al., “Scalable production of large quantities of defect-free few-layer graphene by shear exfoliation in liquids,” Nature Materials, Vol. 13, p.6, 2014.

29.	R. Cancelliere, K. Carbone, M. Pagano, I. Cacciotti, L. Micheli, Biochar from Brewers’ Spent Grain: A Green and Low-Cost Smart Material to Modify Screen-Printed Electrodes, Biosensors. 9 (2019) 139. https://doi.org/10.3390/bios9040139.

30.	R. Cancelliere, D. Albano, B. Brugnoli, K. Buonasera, G. Leo, A. Margonelli, G. Rea, Electrochemical and morphological layer-by-layer characterization of electrode interfaces during a label-free impedimetric immunosensor build-up: The case of ochratoxin A, Appl. Surf. Sci. 567 (2021) 150791. https://doi.org/10.1016/j.apsusc.2021.150791.

31.	J. Wang, Analytical electrochemistry, Wiley-VCH, Hoboken, N.J., 2006. http://www.123library.org/book_details/?id=48289 (accessed February 15, 2022).

32.	R. Cancelliere, F. Zurlo, L. Micheli, S. Melino, Vegetable waste scaffolds for 3D-stem cell proliferating systems and low cost biosensors, Talanta. 223 (2021) 121671. https://doi.org/10.1016/j.talanta.2020.121671.