COMPARISON OF DIFFERENT EXTERNAL BEAM TREATMENT TECHNIQUES TO DELIVER HIGH DOSE IRRADIATION TO LOCAL RECURRENT (LR) RECTAL CARCINOMA.

Riccardo Santoni 1, 2, Silvia Scoccianti 2, Alessandra Galardi 2, Rebeca Nicolais 1, Michaela Benassi 1, Serenella Russo 3, Marta Bucciolini 3

1 Radiation Therapy, University of Rome Tor Vergata, Viale Oxford 81, 00133 Roma, 2 Radiation Therapy, University of Firenze, Viale Morgani 85, 50134 Firenze, 3 Medical Physics, University of Firenze, Viale Morgani 85, 50134 Firenze

Correspondence to: Riccardo Santoni MD, Radioterapia - Dipartimento

Diagnostica per Immagini, Policlinico Università  di Tor Vergata, Viale

Oxford 81, 00133 Roma. Tel: +39 06 20902401; fax: +39 06 20902404

Abstract.

1. Aims - Treatment of loco-regional recurrent (LR) rectal carcinoma is a challenging problem and local control may be dose-dependent; doses should probably exceed 60 Gy. Our aim was to verify the possibility to deliver 66 Gy to the target, but less than 35 Gy to the small bowel, comparing different 3D irradiation techniques, in a selected group of patients.

2. Methods - Five patients with LR were selected as representative of different presentations of the disease; gross tumour volumes (GTVs) and clinical target volumes (CTVs) were defined, by author RS; tumours ranged between 182 and 540 cc and small bowel volumes between 748 and 1050 cc. A 3-field technique, coplanar multiple fields, non coplanar fields and a Proton beam were compared using dose volume histograms (DVHs). A positive result was scored when > 90% of the target received the prescribed dose with no more than 5% of the small bowel receiving more than 35 Gy. Doses were escalated in steps of 2 Gy from 60 to 66 Gy.

3. Results - The number of plans fitting the constraints were 7/19, 11/19, 18/19 for doses of 66 Gy, 64 Gy and 62 Gy respectively. The stage of the tumour do not seem to correlate with the possibility to cover homogeneously the target with the prescribed dose.

4. Conclusions - Simple coplanar and complex coplanar techniques (up to six fields), positioning the patient in a prone position with dislocation of the bowel, seem to be the best solutions to treat almost all of the patients with doses of 64 Gy; where higher doses are concerned, it is not possible to suggest a “standard” solution; more personalized techniques have to be tested to define the best option.

Key words: recurrent rectal carcinoma, 3D conformal radiation therapy, Proton beams, Dose-volume hystograms (DVHs).

Introduction.

Treatment of loco-regional recurrence (LR), following a low anterior or perineal resection for rectal carcinoma, may be a challenging clinical problem. The frequency of LR ranges, after surgery only, between 10% and over 30% 1, 2 depending on the site and stage of the tumour, type of surgery and experience of the surgeon. Radiation delivered before or after surgery has considerably reduced the incidence of LR 3-18, it is widely employed and under further evaluation to better establish its role with or without concomitant chemotherapy and new drugs. In the current setting of total mesorectal excision (TME) and preoperative treatment the frequency of LR has been considerably reduced, but new problems have to be faced in the treatment of these patients who underwent a preoperative treatment.

There is not an established treatment modality of the LR to be applyied to the different presentations and extensions of the pelvic disease. Surgery 2 may be curative when the LR is limited to the anastomosis, 19-25 providing the best local control results in the literature. When the disease is bulky or not respectable, five year survival rates are poor 26-31 and seldomly reported even with the most aggressive treatment protocols 27. Combined programs are based on radiation therapy with external beam (EB) treatments and intraoperative irradiation (IORT) 26-31.

Tumoricidal doses may be above 60 Gy, but it may be difficult to deliver, with EB irradiation only, such a dose to the target volume without increasing the risk of small bowel toxicity. To evaluate the possibility to develop a dose escalating protocol to deliver higher doses to LR rectal carcinomas it may be mandatory to test personalised treatment techniques, in each single patient, and use precise contstrains for the normal structures. For these reasons this report analyses the results obtained, in a group of five selected patients with LR rectal carcinoma, comparing four different techniques of irradiation aiming at delivering 66 Gy to the target, but less than 35 Gy to the small bowel.

Patients and methods.

Patients affected by LR rectal carcinoma and referred to the Radiation Therapy Department of the University of Florence undergo EB radiation therapy and concomitant chemotherapy (5-Fu, continuos infusion, 225mg/sm/day) before surgical resection of the pelvic tumour, in selected cases. The irradiation is usually performed with a coplanar field technique (three or more fields) delivering to the GTV, plus approximately two centimeters of surrounding tissues (CTV), the dose of 54 Gy in 6 weeks.

Among the patients referred between January 1998 and December 2002 five ones, with different local extension of the pelvic disease, classified according to the Suzuki’s method 32, were selected for the present evaluation and their main features are reported in Table 1. The computerised tomographies (CT) were re-evaluated and GTVs and CTVs delineated by author RS. The small bowel, the bony structures, the bladder and the normal large bowel were delineated as well. An avarage of 45 images per CT were available for each patient; scans were obtained, with the patients in the prone position and no immobilization device, from a plan through the interspace between the third and fourth lumbar vertebra to the perineum. The CT scan interval was 5 mm in all of the patients. On the basis of these data four different treatment techniques were developed for patient 1, 2, 3 and 5, but only three for patient 4;  DVHs calculated for the tumour and the normal structures. We compared a “conventional” 3-field technique (one posterior and two lateral fields), a coplanar multiple field (up to 6 coplanar fields), a non coplanar technique and a Proton beam (one direct posterior field only).

All of the techniques were developed and compared using ISIS 3D treatment planning system, which is able to perform conformal treatment both with photon and proton beams. All of the photon beams (6 - 25 MV) in use in our department, as well as the 200 MeV proton beam of the Protontherapy Centre in Orsay (France), are available in the system. The proton beam has a water penetration of about 25 cm and a 10 cm field diameter; alluminium range modulators and combination of range shifters of different materials achieve uniform dose distribution at adequate depth 33. Doses were prescribed to the International Commission Radiation Units (ICRU) point; prescribed doses were escalated from 60 to 66 Gy in steps of 2 Gy; the maximum, minimum and average doses were obtained. We scored as a positive result the fact that over 90% of the target volume would received the prescribed dose (60, 62, 64 and 66 Gy respectively) with no more than 5% of the volume of the small bowel receiving more than 35 Gy.

Results.

Tables 2 - 6 report the results obtained in terms of maximum, minimum and average doses (Gy) delivered to the target and small bowel prescribing 66 Gy to the ICRU point. In the same tables the percentage of the the tumour receiving the prescribed dose (66 Gy) and the amount of intestine receiving a dose greater than 35 Gy are reported. Figure 1 summarizes the results in terms of percentage of the target receiving, at least, 90% of the prescribed dose for doses ranging between 60 and 66 Gy. Figure 2 represents, for all of the five studied patients, the sagittal reconstruction of the body contours, the target volume (red color), the intestine (green colour) and their relationships. Target volumes range between 182 and 540 cc and small bowel volumes between 748 and 1050 cc.

When the prescribed dose is 60 Gy all of the patients may receive a treatment to irradiate homogeneously the tumour independently by the technique of irradiation (Figure 1A). When the dose is escalated, in 2 Gy steps, coverage of the target with the prescribed dose is more difficult and in only three patients (Figure 1D) 66 Gy might be delivered to > 90% of the tumour volume with, at least, one of the developed techniques. The number of plans judged to fit the established constraints were 11/19 and 18/19 for doses of 64 Gy and 62 Gy respectively. When the prescribed dose is 66 Gy only 7 out of the 19 developed plans were adequate to cover over 90% of the target with this dose.

Tumour volume is not the main factor conditioning the homogeneous coverage of the target. In spite of the fact that patient 1 presented the largest tumour, all of the irradiation techniques cover the target adequately with at least 94% of the volume of the LR receiving 66 Gy.

The stage, according to the Suzuki’s classification, does not seem to correlate with the possibility to cover the target with the prescribed dose. As it is shown by Figure 2 the cranial extension of the target and the relationship between tumour and intestine condition the result.

As concerns the small bowel the percentages of the volume receiving the maximum, minimum and average doses are reported in the Tables 2 – 6 as well. In one patient only (patient 4, Stage F1) a considerable amount of the intestine (30%) would receive a higher dose than the prescribed constraint for this organ (35 Gy) ad this is due to the almost complete encroachment of the tumour upon the bowel (Figure 2). In all of the evaluated patients limited amounts of the intestine would receive more than 35 Gy upon the boundaries between tumour and bowel volumes.

Discussion

The preliminary results obtained in this limited number of patients show that high doses of irradiation may be delivered safely to LR rectal carcinomas with EB only. The doses we have simulated to deliver are higher than those usually delivered with EB only (54 Gy), but might be similar to those delivered with EB and intraoperative irradiation (IORT). Unless this cannot be surely stated the simple arithmetic sum of doses delivered with different modalities (EB + IORT) is difficult to compare, in terms of biological effect, with the efficacy of one modality only. On the other side IORT is feasible only after EB irradiation and the downsizing of the tumour. If high doses of irradiation may be delivered to large pelvic tumour volumes, sparing the small bowel, this may contribute to better local control rates without preventing IORT.

After EB irradiation, 50% and 75% of locally advanced primary rectal cancers become amenable for complete surgical resection 34-40, and as much as 75% to 89% are resectable 41-43. Although resection can be achieved in most of the patients after EB irradiation, the 5 year incidence of LR still remains in the range of 30 to 55% with survival rates ranging between 10% and 26% 34-36, 44-47. Local control is dose-dependent and should exceed 60 Gy 48-49 but, as small bowel toxicity may prevent delivery of such high doses, 50 Gy is considered optimal in most of the patients 50-52. LR may be more resistant, than an advanced primary tumours due to intrinsic factors (oxygen distribution, proportion of aneuploid and diploid cells, proliferating pool etc.) or extrinsic conditions such as anatomic distorsion following surgery, and may need higher doses to achieve the downsizing of the disease and a better local control.

Our experience has been based on a few selected cases, with different local extensions of the disease (Suzuki’s stage F0 – F2) aiming at showing that a standard technique may not always be applied to all of the patients when a dose escalation is planned. Only a few very preliminary conclusions may be drawn by this experience:

1 – the volume of the tumour and the stage do not always condition the feasibility of the treatment although they may be related; as far as doses of 64 Gy are concerned almost all of the patients (4/5) would have received this dose with, at least, one of the tested techniques; coplanar multiple conformal fields (3 to 4 fields) represent the adequate option in most of the cases;

2 – the dose of 64 Gy is higher (18%) than that conventionally delivered (50 - 54 Gy) but its value in the local control of the disease has not yet been completely assessed;

3 – a dose of 35 Gy is a low constraint for the small bowel and doses as high as 45 Gy may be delivered to partial volumes of the bowel without high grade morbidity 53; very small portions of the intestine (patient 1, 2 and 5) would receive, in this experience, high doses where the tumour enchroaces upon the intestine; as these portions of the bowel may be fixed or have a lesser degree of freedom, the risk of late damage may be increased justifying strict constraints for the small intestine;

4 - keeping the constraint for the bowel as low as possible requires the development of personalized and time-consuming techniques but is expected to reduce the risk of late side effects;

5 – simple coplanar field combinations (three fields, patient in a prone position, dislocation of the bowel with a belly-board) and complex coplanar techniques (six fields, same positioning as above) seem to be the best solutions to treat almost all of the patients with doses in the range of 64 Gy; where higher doses are concerned, it is not possible to suggest a “standard” solution and more personalized techniques have to be tested to define the best option;

6 – despite the ballistic advantages of a proton beam a single posterior proton beam is not as adequate as a coplanar technique employing up to six fields; air in the rectum may impair the potential ballistic advantage of a single posterior proton beam;

7 – intensity modulated radiation therapy should be tested and its results compared to 3D conformal radiation therapy using combinations of coplanar and non-coplanar fields;

8 - classification of the LR according to Suzuki’s system may be a method to differentiate patients to be treated with radical or palliative programs, but other criteria, such as tumour volume and relationships between tumour and bowel, have to be considered before defining treatment programs.

References

- Salo JC, Paty PB, Guillem J, Minsky BD, Harrison LB, Cohen AM: Surgical salvage of recurrent rectal carcinoma after curative resection: a 10-year experience. Ann Surg Oncol, 6: 131-132, 1999.

- Hoffman JP, Riley L, Carp NZ, Litwin S: Isolated locally recurrent rectal cancer: a review of incidence, presentation, and management. Semin Oncol, 20: 506-519, 1993.

- Cedermark B, Theve NO, Rieger A, Wahren, B, Glas JE, Rubio C, Öst A, Broström L, Göran E, Forsgren L, Friberg S, Glas U, Jäderholm B, Landberg T, Ljungdahl I, Molin K, Poppen B, Rietz K, Raf L, Schager N, Ohman U: Preoperative short-term radiotherapy in rectal carcinoma. Cancer, 55: 1182-1185, 1985.

- Stockholm Rectal Cancer Study Group: Preoperative short-term radiation therapy in operable rectal carcinoma. Cancer, 66: 49-55, 1990.

- Swedish Rectal Cancer Trial: Improved survival with preoperative radiotherapy in resectable rectal cancer. N Engl J Med, 336: 980-987, 1997.

- Gerard A, Berrod J, Pene F, Loygue J, Laugier A, Bruckner R, Camelot G, Arnaud J, Metzger U, Buyse M, Dalesio O, Duez N: Interim analysis of a phase III study on preoperative radiation therapy in resectable rectal carcinoma. Cancer, 55: 2373-2379, 1985.

- Gerard A, Buyse M, Nordlinger B, Loygue J, Pene F, Kempf P, Bosset J, Gignoux M, Arnaud J, Desaive C, Duez N: Preoperative radiotherapy as adjuvant treatment in rectal cancer. Ann Surg, 208: 606-614, 1988.

- Dahl O, Horn A, Morild I, Halvorsen J, Odland G, Reinertsen S, Reisaeter A, Kavli H, Thunold J: Low-dose preoperative radiation postpones recurrences in operable rectal cancer. Cancer, 66: 2286-2294, 1990.

- Medical Research Council Rectal Cancer Working Party: Randomised trial of surgery alone versus radiotherapy followed by surgery for potentially operable locally advanced rectal cancer. Lancet, 348: 1605-1610, 1996.

- Kapiteijn E, Marijnen CA, Nagtegaal ID, Putter H, Steup WH, Wiggers T, Rutten HJ, Pahlman L, Glimelius B, van Krieken JH, Leer JW, van de Velde CJ, for the Dutch colorectal Cancer Group: Preoperative radiotherapy combined with total mesorectal excision for resectable rectal cancer. N Engl  J Med, 345: 638-646, 2001.

- Balslev I, Pedersen M, Teglbjaerg P, Hanberg-Sørensen F, Bone J, Jacobsen N, Overgaard J, Sell A, Bertelsen K, Hage E, Fenger C, Kronborg O, Hansen L, Høstrup H, Nørgaard-Pedersen B: Postoperative radiotherapy in Dukes’ B and C carcinoma of the rectum and rectosigmoid. Cancer, 58: 22-28, 1986.

- Fisher B, Wolmark N, Rockette H, Redmond C, Deutsch M, Wickerham DL, Fisher ER, Caplan R, Jones J, Lerner H, Gordon P, Feldman M, Cruz A, Legault-Poisson S, Wexler M, Lawrence W, Robidoux A: Postoperative adjuvant chemotherapy or radiation therapy for rectal cancer: results from NSABP Protocol R-01. J Natl Cancer Inst, 80: 21-29, 1988.

- Thomas PRM, Lindblad AS: Adjuvant postoperative radiotherapy and chemotherapy in rectal carcinoma: a review of the Gastrointestinal Tumor Study Group Experience. Radiother Oncol, 13: 245-252, 1988.

- Treurniet-Donker AD, Van Putten WLJ, Wereldsma JCJ, Bruggink EDM, Hoogenraad WJ, Roukema A, Snijders-Keilholz A, Meijer WS, Meerwaldt JH, Wijnmaalen AJ, Wiggers T: Postoperative radiation therapy for rectal cancer. Cancer, 67: 2042-2048, 1991.

- Krook JE, Moertel CG, Gunderson LL, Wieand HS, Collins RT, Beart RW, Kubista T P, Poon MA, Meyers WC, Maillard JA, Twito DI, Morton RF, Veeder MH, Witzig TE, Cha S, Vidyarthi SC: Effective surgical adjuvant therapy for high-risk rectal carcinoma. N Engl J Med, 324: 709-715, 1991.

- Bentzen SM, Baslev I, Pedersen M, Teglbjaerg PS, Hanberg-Sørensen F, Bone J, Jacobsen NO, Sell A, Overgaard J, Bertelsen K, Hage E, Fenger C, Kronborg O, Hansen L, Høstrup H, Nørgaard-Pedersen B: Time to loco-regional recurrence after resection of Dukes’ B and C colorectal cancer with or without adjuvant postoperative radiotherapy. A multivariate regression analysis. Br J Cancer, 65: 102-107, 1992.

- Arnaud JP, Nordlinger B, Bosset JF, Hoctin Boes G, Sahmoud T, Schlag PM, Pene F: Radical surgery and postoperative radiotherapy as combined treatment in rectal cancer. Final results of a phase III study of the European Organization for Research and Treatment of Cancer. Br J Surg, 84: 352-357, 1997.

- Medical Research Council Rectal Cancer Working Party: Randomised trial of surgery alone versus surgery followed by radiotherapy for mobile cancer of the rectum. Lancet, 348: 1610-1614, 1996.

- Murdok MG, Kramer S: Cobalt 60 in the management of perineal recurrence from carcinoma of rectum and colon. Am J Roentgenol, 91: 149-154, 1964.

- Ciatto S, Pacini P: Radiation therapy of recurrences of carcinoma of the rectum and sigmoid after surgery. Acta Radiol Oncol, 21: 105-109, 1982.

- Taylor RE, Kerr GR, Arnott SJ: External beam radiotherapy for rectal adenocarcinoma. Br J Surg, 74: 455-459, 1987.

- Wong CS, Cummings BJ, Keane TJ, O’Sullivan B, Catton CN: Results of external beam irradiation for rectal carcinomas locally recurrent after local excision or electrocoagulation. Radiother Oncol, 22: 145-148, 1991.

- Danjoux CE, Gelber RD, Catton GE, Klaassen DJ: Combination chemo-radiotherapy for residual, recurrent or inoperable carcinoma of the rectum. ECOG study (EST 3276). Int J Radiat Oncol Biol Phys, 11: 765-771, 1985.

- Dobrowsky W: Mitomycin C, 5-fluorouracil and radiation in advanced, locally recurrent rectal cancer. Br J Radiol, 65: 143-147, 1992.

- Minsky BD, Cohen AM, Enker WE, Sigurdson E, Harrison LB: Radiation therapy for unresectable rectal cancer. Int J Radiat Oncol Biol Phys, 21: 1283-1289, 1991.

- Gunderson LL, O’Connell MJ, Dozois RR: The role of intraoperative irradiation in locally advanced primary and recurrent rectal adenocarcinoma. World J Surg, 16: 495-501, 1992.

- Willett CG, Shellito PC, Tepper JE, Eliseo R, Convery K, Wood WC: Intraoperative electron beam radiation therapy for recurrent locally advanced rectal or rectosigmoid carcinoma. Cancer, 67: 1504-1508, 1991.

- Minsky BD, Cohen AM, Fass D, Enker WE, Sigurdson E, Harrison L: Intraoperative brachytherapy alone for incomplete resected recurrent rectal cancer. Radiother Oncol, 21: 115-120, 1991.

- Maetani S, Nishikawa T, Iijima Y, Tobe T, Kotoura Y, Shikata J, Yamamura T: Extensive en bloc resection of regionally recurrent carcinoma of the rectum. Cancer, 69: 2876-2883, 1991.

- Minsky BD, Kemeny N, Cohen AM, Enker WE, Kelsen DP, Reichman B, Saltz L, Sigurdson ER, Frankel J: Preoperative high-dose leucovorin/5-fluorouracil and radiation therapy for unresectable rectal cancer. Cancer, 67: 2859-2866, 1991.

- Minsky BD, Cohen AM, Kemeny N, Enker WE, Kelsen DP, Saltz L, Frankel J: The efficacy of preoperative 5-fluorouracil, high-dose leucovorin, and sequential radiation therapy for unresectable rectal cancer. Cancer, 71: 3486-3492, 1993.

- Suzuki K, Gunderson LL, Devine RM, Weaver JA, Dozois RR, Ilstrup DM, Martenson JA, O’Connell MJ: Intraoperative irradiation after palliative surgery for locally recurrent rectal cancer. Cancer, 75: 939-952, 1995.

- Russo S, Bucciolini M, Compagnucci A, Mazal A, Nauraye C, Rosenwald JC: Monte Carlo simulation of a therapeutical proton beam line. Phys Med, 14: 63-71, 1998.

- Stevens KR, Allen CV, Fletcher WS: Preoperative radiotherapy for adenocarcinoma of the rectosigmoid. Cancer, 37: 2866-2874, 1976.

- Emami B, Pilepich M, Willet C, Munzenrider JE, Miller HH: Management of unresectable colorectal carcinoma (preoperative radiotherapy and surgery). Int J Radiat Oncol Biol Phys, 8: 1295-1299, 1982.

- Dosoretz DE, Gunderson LL, Hedberg S, Hoskins B, Blitzer PH, Shipley W, Choen A: Preoperative irradiation for localized carcinoma of the rectum and rectosigmoid: patterns of failure, survival and future treatment strategies. Cancer, 52: 814-818, 1983.

- Mohiuddin M, Marks G: High dose preoperative irradiation for cancer of the rectum. Int J Radiat Oncol Biol Phys, 20: 37-43, 1991.

- Higgens GA, Humphrey EW, Dwight RW, Roswit B, Lee LE, Keehn RJ: Preoperative radiation and surgery for cancer of the rectum. Veterans Administration Surgical Oncology Group trial II. Cancer, 58: 352-359, 1986.

- Pilepich MV, Munzenrider JE, Tak WK, Miller HH: Preoperative irradiation of primary unresectable colorectal cancer. Cancer, 42: 1077-1081, 1978.

- Buhre LMD, Mulder NH, Oldhoff J, Szabò BG, Grond AJ, Verschueren RC: Local control in advanced rectal cancer: the clinical staging of rectal cancer in patients treated by preoperative radiotherapy. Clin Oncol, 6: 157-161, 1994.

- Tepper JE, Wood WC, Cohen AM: Treatment of locally advanced rectal cancer with external beam radiation, surgical resection, and intraoperative radiation therapy. Int J Radiat Oncol Biol Phys, 16: 1437-1444, 1989.

- Minsky BD, Cohen AM, Enker WE, Kelsen DP, Kemeny N, Riechman B, Saltz L, Sigurdson ER, Frankel J: Phase I trail of postoperative 5-FU, radiation therapy and high dose leucovorin for resectable rectal cancer. Int J Radiat Oncol Biol Phys, 22: 139-145, 1991.

- Minsky B, Cohen AM, Kemeny N, Enker WE, Kelsen DP, Saltz L, Frankel J: The efficacy of  preoperative 5-FU, high dose leucovorin, and sequential radiotherapy for unresectable rectal cancer. Cancer, 71: 3486-3492, 1993.

- Gunderson LL, Tepper JE, Dosoretz DE : Patterns of failure after treatment of  gastrointestinal cancer. Cancer Treat Symposia, 2: 181-197, 1983.

- Stevens KR, Fletcher WS: High dose preoperative pelvic irradiation for unresectable adenocarcinoma of the rectum or sigmoid. Int J Radiat Oncol Biol Phys, 9: 148, 1983.

- Mendenhall WM, Million RR, Bland KI, Pfaff WW, Copeland EM: Initially unresectable rectal adenocarcinoma treated with preoperative irradiation and surgery. Ann Surg, 205: 41-44, 1987.

- Martenson JA, Schield SE: External radiation therapy for primary locally advanced rectal cancer. In: Cohen AM, Winawer SJ, Friedman MA, Gunderson LL (eds): Cancer of the colon, rectum and anus. New York: McGraw-Hill, 695-701, 1995.

- Neve de W, Martijn H, Lybeert MM, Crommelin M, Goor CH, Ribot JG: Incompletely resected rectum, rectosigmoid, or sigmoid carcinoma: results of postoperative radiotherapy and prognostic factors. Int J Radiat Oncol Biol Phys, 21: 1297-1302, 1991.

- Allee PE, Tepper JE, Gunderson LL, Munzenrider JE: Postoperative radiation therapy for incompletely resected colorectal carcinoma. Int J Radiat Oncol Biol Phys, 17: 1171-1176, 1989.

- Gunderson LL, Martinson JA: Gastrointestinal tract radiation tollerance. Front Radiat Ther Oncol, 23: 277-298, 1989.

- Willett CG, Shellito PC, Tepper JE, Eliseo R, Convery K, Wood WC: Intraoperative electron beam radiation therapy for primary locally advanced rectal and rectosigmoid carcinoma. J Clin Oncol, 9: 843-849, 1991.

- Eble MJ, Kallinowski F, Wannenmacher MF, Herlach C: Intraoperative radiotherapie des local ausgedehnten und rezidivierten rectum carcinoms. Chirurg, 65: 585-592, 1994.

- Emami B, Lyman J, Brown A, Coita L, Goiten M, Munzenrider JE, Shank B, Solin LJ, Wesson M: Tollerance of normal tissue therapeutic irradiation. Int J Radiation Oncology Biol Phys, 21: 109-122, 1991.

Captions

Figure 1

Percentages of the target volume receiving > 90% of the        prescribed doses (ICRU point) ranging between 60 Gy and 66 Gy. Simbols above the dotted line are scored as a positive results. Plans judged to fit the established constraints were 7/19, 11/19 and 18/19 for doses of 66 Gy, 64 Gy and 62 Gy respectively.

Figure 2

Sagittal reconstruction, in the five reported patients, of the target (red colour) and the intestine (green colour) showing the different extensions of the target and its different relationship with the small bowel. Tumour not encroaching the bowel will allow an homogeneous irradiation of the target (Patient 1, 2 and 3).